## Overview
Sequence Overview
Sequence Details
Name: |  | 20210428_PA10_3_Finland ANX |  |  | Created On: | 2020-08-26 14:43
Directory: |  | Instrument Data\ICS5000\Sequence\Hagen |  |  | Created By: | COMPUTER
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2021-05-11 16:45
No. of Injections: |  | 176 |  |  | Updated By: | COMPUTER
Injection Details
No. | Injection Name | Position | Type | Level | Inject Time | Status
1 | MQ | RA1 | Blank |  | 2021-04-28 13:04 | Finished
2 | MQ | RA2 | Blank |  | 2021-04-28 14:57 | Finished
3 | MQ | RA3 | Blank |  | 2021-04-28 16:10 | Finished
4 | MQ | RA1 | Unknown |  | 2021-04-28 17:12 | Finished
5 | 1:10.000 Std. Mix in HCl | RA2 | Calibration Standard | 6 | 2021-04-28 18:20 | Finished
6 | 1:5.000 Std. Mix in HCl | RA3 | Calibration Standard | 5 | 2021-04-28 19:27 | Finished
7 | 1:2500 Std. Mix in HCl | RA4 | Calibration Standard | 4 | 2021-04-28 20:34 | Finished
8 | 1:1000 Std. Mix in HCl | RA5 | Calibration Standard | 3 | 2021-04-28 21:42 | Finished
9 | 1:500 Std. Mix in HCl | RA6 | Calibration Standard | 2 | 2021-04-28 22:49 | Finished
10 | 1:100 Std. Mix in HCl | RA7 | Calibration Standard | 1 | 2021-04-28 23:57 | Finished
11 | 14b | RA8 | Unknown |  | 2021-04-29 01:04 | Finished
12 | 5b | RB1 | Unknown |  | 2021-04-29 02:11 | Finished
13 | 22c | RB2 | Unknown |  | 2021-04-29 03:19 | Finished
14 | 5a | RB3 | Unknown |  | 2021-04-29 04:26 | Finished
15 | 27b | RB4 | Unknown |  | 2021-04-29 05:34 | Finished
16 | 30b | RB5 | Unknown |  | 2021-04-29 06:41 | Finished
17 | 15c | RB6 | Unknown |  | 2021-04-29 07:48 | Finished
18 | 36b | RB7 | Unknown |  | 2021-04-29 08:56 | Finished
19 | 6a | RB8 | Unknown |  | 2021-04-29 10:03 | Finished
20 | 4a | RC1 | Unknown |  | 2021-04-29 11:11 | Finished
21 | 1:10.000 Std. Mix in HCl | RA2 | Calibration Standard | 6 | 2021-04-29 12:18 | Finished
22 | 46b | RC2 | Unknown |  | 2021-04-29 13:25 | Finished
23 | 36a | RC3 | Unknown |  | 2021-04-29 14:33 | Finished
24 | 16b | RC4 | Unknown |  | 2021-04-29 15:40 | Finished
25 | 6b | RC5 | Unknown |  | 2021-04-29 16:48 | Finished
26 | 25b | RC6 | Unknown |  | 2021-04-29 17:55 | Finished
27 | 26a | RC7 | Unknown |  | 2021-04-29 19:02 | Finished
28 | 22b | RC8 | Unknown |  | 2021-04-29 20:10 | Finished
29 | 18c | RD1 | Unknown |  | 2021-04-29 21:17 | Finished
30 | 34a | RD2 | Unknown |  | 2021-04-29 22:25 | Finished
31 | 37a | RD3 | Unknown |  | 2021-04-29 23:32 | Finished
32 | 1:5.000 Std. Mix in HCl | RA3 | Calibration Standard | 5 | 2021-04-30 00:39 | Finished
33 | 34b | RD4 | Unknown |  | 2021-04-30 01:47 | Finished
34 | 37b | RD5 | Unknown |  | 2021-04-30 02:54 | Finished
35 | 20c | RD6 | Unknown |  | 2021-04-30 04:02 | Finished
36 | 32b | RD7 | Unknown |  | 2021-04-30 05:09 | Finished
37 | 50b | RD8 | Unknown |  | 2021-04-30 06:16 | Finished
38 | 14c | RE1 | Unknown |  | 2021-04-30 07:24 | Finished
39 | 35c | RE2 | Unknown |  | 2021-04-30 08:31 | Finished
40 | 7a | RE3 | Unknown |  | 2021-04-30 09:39 | Finished
41 | 18a | RE4 | Unknown |  | 2021-04-30 10:46 | Finished
42 | 40b | RE5 | Unknown |  | 2021-04-30 11:54 | Finished
43 | 1:2500 Std. Mix in HCl | RA4 | Calibration Standard | 4 | 2021-04-30 13:01 | Finished
44 | 29b | RE6 | Unknown |  | 2021-04-30 14:08 | Finished
45 | 41b | RE7 | Unknown |  | 2021-04-30 15:16 | Finished
46 | 13b | RE8 | Unknown |  | 2021-04-30 16:23 | Finished
47 | MQ 9b | GA1 | Unknown |  | 2021-04-30 17:31 | Finished
48 | 37c | GA2 | Unknown |  | 2021-04-30 18:38 | Finished
49 | 38b | GA3 | Unknown |  | 2021-04-30 19:45 | Finished
50 | 32a | GA4 | Unknown |  | 2021-04-30 20:53 | Finished
51 | 10a | GA5 | Unknown |  | 2021-04-30 22:00 | Finished
52 | 34c | GA6 | Unknown |  | 2021-04-30 23:08 | Finished
53 | 20a | GA7 | Unknown |  | 2021-05-01 00:15 | Finished
54 | 1:1000 Std. Mix in HCl | RA5 | Calibration Standard | 3 | 2021-05-01 01:23 | Finished
55 | 1a | GA8 | Unknown |  | 2021-05-01 02:30 | Finished
56 | 31b | GB1 | Unknown |  | 2021-05-01 03:37 | Finished
57 | 39b | GB2 | Unknown |  | 2021-05-01 04:45 | Finished
58 | 17b | GB3 | Unknown |  | 2021-05-01 05:52 | Finished
59 | 2c | GB4 | Unknown |  | 2021-05-01 07:00 | Finished
60 | 20b | GB5 | Unknown |  | 2021-05-01 08:07 | Finished
61 | 10c | GB6 | Unknown |  | 2021-05-01 09:14 | Finished
62 | 6c | GB7 | Unknown |  | 2021-05-01 10:22 | Finished
63 | 33a | GB8 | Unknown |  | 2021-05-01 11:29 | Finished
64 | 19b | GC1 | Unknown |  | 2021-05-01 12:37 | Finished
65 | 1:500 Std. Mix in HCl | RA6 | Calibration Standard | 2 | 2021-05-01 13:44 | Finished
66 | 47a | GC2 | Unknown |  | 2021-05-01 14:52 | Finished
67 | 49a | GC3 | Unknown |  | 2021-05-01 15:59 | Finished
68 | 7c | GC4 | Unknown |  | 2021-05-01 17:06 | Finished
69 | 35a | GC5 | Unknown |  | 2021-05-01 18:14 | Finished
70 | 16a | GC6 | Unknown |  | 2021-05-01 19:21 | Finished
71 | 45b | GC7 | Unknown |  | 2021-05-01 20:29 | Finished
72 | 43a | GC8 | Unknown |  | 2021-05-01 21:36 | Finished
73 | 15b | GD1 | Unknown |  | 2021-05-01 22:44 | Finished
74 | 24c | GD2 | Unknown |  | 2021-05-01 23:51 | Finished
75 | 44a | GD3 | Unknown |  | 2021-05-02 00:58 | Finished
76 | 1:100 Std. Mix in HCl | RA7 | Calibration Standard | 1 | 2021-05-02 02:06 | Finished
77 | 14a | GD4 | Unknown |  | 2021-05-02 03:13 | Finished
78 | 7b | GD5 | Unknown |  | 2021-05-02 04:21 | Finished
79 | 39a | GD6 | Unknown |  | 2021-05-02 05:28 | Finished
80 | 17a | GD7 | Unknown |  | 2021-05-02 06:36 | Finished
81 | 42b | GD8 | Unknown |  | 2021-05-02 07:43 | Finished
82 | 18b | GE1 | Unknown |  | 2021-05-02 08:50 | Finished
83 | 23b | GE2 | Unknown |  | 2021-05-02 09:58 | Finished
84 | 47b | GE3 | Unknown |  | 2021-05-02 11:05 | Finished
85 | 35b | GE4 | Unknown |  | 2021-05-02 12:13 | Finished
86 | 29c | GE5 | Unknown |  | 2021-05-02 13:20 | Finished
87 | 1:10.000 Std. Mix in HCl | RA2 | Calibration Standard | 6 | 2021-05-02 14:27 | Finished
88 | 33b | GE6 | Unknown |  | 2021-05-02 15:35 | Finished
89 | 28b | GE7 | Unknown |  | 2021-05-02 16:42 | Finished
90 | 13c | GE8 | Unknown |  | 2021-05-02 17:50 | Finished
91 | MQ 12b | BA1 | Unknown |  | 2021-05-02 18:57 | Finished
92 | 9b | BA2 | Unknown |  | 2021-05-02 20:05 | Finished
93 | 8b | BA3 | Unknown |  | 2021-05-02 21:12 | Finished
94 | 8a | BA4 | Unknown |  | 2021-05-02 22:19 | Finished
95 | MQ 10b | BA5 | Unknown |  | 2021-05-02 23:27 | Finished
96 | MQ 7a | BA6 | Unknown |  | 2021-05-03 00:34 | Finished
97 | MQ 1c | BA7 | Unknown |  | 2021-05-03 01:42 | Finished
98 | 1:5.000 Std. Mix in HCl | RA3 | Calibration Standard | 5 | 2021-05-03 02:49 | Finished
99 | MQ 11a | BA8 | Unknown |  | 2021-05-03 03:57 | Finished
100 | MQ 9a | BB1 | Unknown |  | 2021-05-03 05:04 | Finished
101 | MQ 6b | BB2 | Unknown |  | 2021-05-03 06:11 | Finished
102 | MQ 12a | BB3 | Unknown |  | 2021-05-03 07:19 | Finished
103 | MQ 7b | BB4 | Unknown |  | 2021-05-03 08:26 | Interrupted
104 | MQ | RA1 | Blank |  | 2021-05-03 18:07 | Finished
105 | MQ | RA1 | Unknown |  | 2021-05-03 21:09 | Finished
106 | MQ | RA1 | Unknown |  | 2021-05-03 22:16 | Finished
107 | MQ | RA1 | Unknown |  | 2021-05-03 23:24 | Finished
108 | MQ 9a | BB1 | Unknown |  | 2021-05-04 00:31 | Finished
109 | MQ 6b | BB2 | Unknown |  | 2021-05-04 01:38 | Finished
110 | MQ 12a | BB3 | Unknown |  | 2021-05-04 02:46 | Finished
111 | MQ 7b | BB4 | Unknown |  | 2021-05-04 03:53 | Finished
112 | MQ 11c | BB5 | Unknown |  | 2021-05-04 05:01 | Finished
113 | MQ 5c | BB6 | Unknown |  | 2021-05-04 06:08 | Finished
114 | MQ 7c | BB7 | Unknown |  | 2021-05-04 07:15 | Finished
115 | MQ 4b | BB8 | Unknown |  | 2021-05-04 08:23 | Finished
116 | 1:2500 Std. Mix in HCl | RA4 | Calibration Standard | 4 | 2021-05-04 09:30 | Finished
117 | MQ 8b | BC1 | Unknown |  | 2021-05-04 10:38 | Finished
118 | MQ 5b | BC2 | Unknown |  | 2021-05-04 11:45 | Finished
119 | MQ 12c | BC3 | Unknown |  | 2021-05-04 12:52 | Finished
120 | MQ 2c | BC4 | Unknown |  | 2021-05-04 14:00 | Finished
121 | MQ 10a | BC5 | Unknown |  | 2021-05-04 15:07 | Finished
122 | MQ 11b | BC6 | Unknown |  | 2021-05-04 16:15 | Finished
123 | MQ 4c | BC7 | Unknown |  | 2021-05-04 17:22 | Finished
124 | MQ 2a | BC8 | Unknown |  | 2021-05-04 18:29 | Finished
125 | MQ 10c | BD1 | Unknown |  | 2021-05-04 19:37 | Finished
126 | MQ 2b | BD2 | Unknown |  | 2021-05-04 20:44 | Finished
127 | 1:1000 Std. Mix in HCl | RA5 | Calibration Standard | 3 | 2021-05-04 21:51 | Finished
128 | MQ 5a | BD3 | Unknown |  | 2021-05-04 22:59 | Finished
129 | MQ 3c | BD4 | Unknown |  | 2021-05-05 00:06 | Finished
130 | MQ 3b | BD5 | Unknown |  | 2021-05-05 01:14 | Finished
131 | MQ 8a | BD6 | Unknown |  | 2021-05-05 02:21 | Finished
132 | MQ 1b | BD7 | Unknown |  | 2021-05-05 03:28 | Finished
133 | MQ 8c | BD8 | Unknown |  | 2021-05-05 04:36 | Finished
134 | MQ 6a | BE1 | Unknown |  | 2021-05-05 05:43 | Finished
135 | MQ 4a | BE2 | Unknown |  | 2021-05-05 06:51 | Finished
136 | 24a | BE3 | Unknown |  | 2021-05-05 07:58 | Finished
137 | MQ 9c | BE4 | Unknown |  | 2021-05-05 09:05 | Finished
138 | 1:500 Std. Mix in HCl | RA6 | Calibration Standard | 2 | 2021-05-05 10:13 | Finished
139 | MQ 1a | BE5 | Unknown |  | 2021-05-05 11:20 | Finished
140 | MQ 3a | BE6 | Unknown |  | 2021-05-05 12:28 | Finished
141 | 22a | BE7 | Unknown |  | 2021-05-05 13:35 | Finished
142 | 40a | BE8 | Unknown |  | 2021-05-05 14:42 | Finished
143 | 48b | RB1 | Unknown |  | 2021-05-05 15:50 | Finished
144 | 49b | RB2 | Unknown |  | 2021-05-05 16:57 | Finished
145 | 28c | RB3 | Unknown |  | 2021-05-05 18:05 | Finished
146 | 45a | RB4 | Unknown |  | 2021-05-05 19:12 | Finished
147 | 38a | RB5 | Unknown |  | 2021-05-05 20:19 | Finished
148 | 4b | RB6 | Unknown |  | 2021-05-05 21:27 | Finished
149 | 1:100 Std. Mix in HCl | RA7 | Calibration Standard | 1 | 2021-05-05 22:34 | Finished
150 | 50a | RB7 | Unknown |  | 2021-05-05 23:42 | Finished
151 | 27a | RB8 | Unknown |  | 2021-05-06 00:49 | Finished
152 | 41a | RC1 | Unknown |  | 2021-05-06 01:56 | Finished
153 | 12b | RC2 | Unknown |  | 2021-05-06 03:04 | Finished
154 | 26b | RC3 | Unknown |  | 2021-05-06 04:11 | Finished
155 | 46a | RC4 | Unknown |  | 2021-05-06 05:19 | Finished
156 | 31c | RC5 | Unknown |  | 2021-05-06 06:26 | Finished
157 | 9a | RC6 | Unknown |  | 2021-05-06 07:33 | Finished
158 | 2b | RC7 | Unknown |  | 2021-05-06 08:41 | Finished
159 | 48a | RC8 | Unknown |  | 2021-05-06 09:48 | Finished
160 | 1:100 Std. Neutral Mix in MQ | RA8 | Calibration Standard |  | 2021-05-06 10:56 | Finished
161 | 12a | RD1 | Unknown |  | 2021-05-06 12:03 | Finished
162 | 24b | RD2 | Unknown |  | 2021-05-06 13:10 | Finished
163 | 27c | RD3 | Unknown |  | 2021-05-06 14:18 | Finished
164 | 25a | RD4 | Unknown |  | 2021-05-06 15:25 | Finished
165 | 42a | RD5 | Unknown |  | 2021-05-06 16:33 | Finished
166 | 1b | RD6 | Unknown |  | 2021-05-06 17:40 | Finished
167 | 44b | RD7 | Unknown |  | 2021-05-06 18:47 | Finished
168 | MQ 2a 1:25 | RE1 | Unknown |  | 2021-05-06 19:55 | Finished
169 | MQ 8a 1:25 | RE2 | Unknown |  | 2021-05-06 21:02 | Finished
170 | MQ 12a 1:25 | RE3 | Unknown |  | 2021-05-06 22:10 | Finished
171 | 1:10.000 Std. Neutral Mix in MQ | RD8 | Calibration Standard |  | 2021-05-06 23:17 | Finished
172 | MQ 4b 1:25 | RE4 | Unknown |  | 2021-05-07 00:24 | Finished
173 | MQ 10b 1:25 | RE5 | Unknown |  | 2021-05-07 01:32 | Finished
174 | MQ 1c 1:25 | RE6 | Unknown |  | 2021-05-07 02:39 | Finished
175 | MQ 9c 1:25 | RE7 | Unknown |  | 2021-05-07 03:47 | Finished
176 | MQ 11c 1:25 | RE8 | Unknown |  | 2021-05-07 04:54 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | MQ 11c 1:25 |  |  | Run Time (min): | 65.2
Vial Number: |  | RE8 |  |  | Injection Volume: | 10
Injection Type: |  | Unknown |  |  | Channel: | ED_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | 20200327_PA10_2mm_monosaccharide_analysis_short_22,5°C |  |  | Bandwidth: | n.a.
Processing Method: |  | Monosaccharides_Alek_20210510_new |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2021-05-07 04:54 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | nC*min | nC | % | % | ug/L
ED_1 | ED_1 | ED_1 | ED_1 | ED_1 | ED_1 | ED_1 | ED_1
n.a. | Fucose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Rhamnose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galactosamine | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Arabinose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Glucosamine | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galactose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Glucose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Mannose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Xylose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Gluconic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Muramic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galacturonic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Glucuronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Mannuronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Iduronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 0 | 0 | 0 | 0
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | nC*min | nC | % | % | ug/L
ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total
n.a. | Fucose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Rhamnose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galactosamine | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Arabinose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Glucosamine | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galactose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Glucose | 16.892 | 0.018932 | 0.035787 | 51.3392 | 36.4157 | n.a.
2 | Mannose | 18.1087 | 0.0093398 | 0.02154 | 25.3273 | 21.9181 | n.a.
3 | Xylose | 18.4837 | 0.0066012 | 0.014978 | 17.901 | 15.2412 | n.a.
4 | Gluconic acid | 29.367 | 0.0020033 | 0.025969 | 5.4326 | 26.4251 | 3.1636
n.a. | Muramic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galacturonic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Glucuronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Mannuronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Iduronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 0.036876 | 0.098273 | 100 | 100

## Calibration
Calibration
Calibration Details |  | Glucuronic acid
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0031492
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.00033913
Number of Calibration Points |  | 17 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.72861
Calibration Plot |  | Glucuronic acid
Calibration Results |  | Glucuronic acid
No. | Injection Name | Calibration | X Value | Y Value | Y Value | Area | Height
|  | Level |  |  |  | nC*min | nC
|  |  | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total
|  |  | Glucuronic acid | Glucuronic acid | Glucuronic acid | Glucuronic acid | Glucuronic acid
5 | 1:10.000 Std. Mix in HCl | 6 | 10.58 | 0.0046823 | 0.0046823 | 0.0046823 | 0.03195
6 | 1:5.000 Std. Mix in HCl | 5 | 21.16 | 0.01141 | 0.01141 | 0.01141 | 0.062147
7 | 1:2500 Std. Mix in HCl | 4 | 42.32 | 0.021757 | 0.021757 | 0.021757 | 0.12218
8 | 1:1000 Std. Mix in HCl | 3 | 105.79 | 0.061871 | 0.061871 | 0.061871 | 0.32295
9 | 1:500 Std. Mix in HCl | 2 | 211.58 | 0.12572 | 0.12572 | 0.12572 | 0.65016
10 | 1:100 Std. Mix in HCl | 1 | 1057.9 | 0.60932 | 0.60932 | 0.60932 | 3.0375
21 | 1:10.000 Std. Mix in HCl | 6 | 10.58 | 0.0038926 | 0.0038926 | 0.0038926 | 0.028207
32 | 1:5.000 Std. Mix in HCl | 5 | 21.16 | 0.010335 | 0.010335 | 0.010335 | 0.053855
43 | 1:2500 Std. Mix in HCl | 4 | 42.32 | 0.019387 | 0.019387 | 0.019387 | 0.10014
54 | 1:1000 Std. Mix in HCl | 3 | 105.79 | 0.038738 | 0.038738 | 0.038738 | 0.19994
65 | 1:500 Std. Mix in HCl | 2 | 211.58 | 0.068987 | 0.068987 | 0.068987 | 0.36418
76 | 1:100 Std. Mix in HCl | 1 | 1057.9 | 0.29737 | 0.29737 | 0.29737 | 1.491
87 | 1:10.000 Std. Mix in HCl | 6 | 10.58 | 0.0021165 | 0.0021165 | 0.0021165 | 0.014426
98 | 1:5.000 Std. Mix in HCl | 5 | 21.16 | 0.003276 | 0.003276 | 0.003276 | 0.024761
116 | 1:2500 Std. Mix in HCl | 4 | 42.32 | n.a. | n.a. | n.a. | n.a.
127 | 1:1000 Std. Mix in HCl | 3 | 105.79 | 0.022983 | 0.022983 | 0.022983 | 0.10326
138 | 1:500 Std. Mix in HCl | 2 | 211.58 | 0.034377 | 0.034377 | 0.034377 | 0.18284
149 | 1:100 Std. Mix in HCl | 1 | 1057.9 | 0.1775 | 0.1775 | 0.1775 | 0.85689
160 | 1:100 Std. Neutral Mix in MQ |  | n.a. | n.a. | n.a. | n.a. | n.a.
171 | 1:10.000 Std. Neutral Mix in MQ |  | n.a. | n.a. | n.a. | n.a. | n.a.

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | MQ 11c 1:25 |  |  | Run Time (min): | 65.2
Vial Number: |  | RE8 |  |  | Injection Volume: | 10
Injection Type: |  | Unknown |  |  | Channel: | ED_1_Total
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | 20200327_PA10_2mm_monosaccharide_analysis_short_22,5°C |  |  | Bandwidth: | n.a.
Processing Method: |  | Monosaccharides_Alek_20210510_new |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2021-05-07 04:54 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total | ED_1_Total
n.a. | Fucose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Rhamnose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galactosamine | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Arabinose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Glucosamine | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galactose | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Glucose | 16.892 | 0.49369 | BMB* | n.a. | 0.95148 | 6486
2 | Mannose | 18.1087 | n.a. | BM * | n.a. | n.a. | n.a.
3 | Xylose | 18.4837 | n.a. | MB* | n.a. | n.a. | n.a.
4 | Gluconic acid | 29.367 | 0.065 | BMB* | n.a. | 0.89235 | 1130828
n.a. | Muramic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Galacturonic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Glucuronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Mannuronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Iduronic acid | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | MQ 11c 1:25 |  | Run Time (min): | 65.2
Vial Number: |  | RE8 |  | Injection Volume: | 10
Injection Type: |  | Unknown |  | Channel: | ED_1_Total
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | 20200327_PA10_2mm_monosaccharide_analysis_short_22,5°C |  | Bandwidth: | n.a.
Processing Method: |  | Monosaccharides_Alek_20210510_new |  | Dilution Factor: | 1
Injection Date/Time: |  | 2021-05-07 04:54 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | #VALUE!

## 20210428_PA10_3_Finland_AEX_wit
nr | Standard_concentration | Sample | Fucose | Rhamnose | Galactosamine | Arabinose | Glucosamine | Galactose | Glucose | Mannose | Xylose | Gluconic_acid | Muramic_acid | Galacturonic_acid | Glucuronic_acid | Mannuronic_acid | Iduronic_acid
1 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 200.2127 | n.a. | n.a. | n.a. | n.a. | n.a.
5 | 0.0001 | Standard | n.a. | 8.2313 | 3.492 | n.a. | 2.5867 | n.a. | n.a. | n.a. | n.a. | 27.718 | 5.9053 | 10.9669 | 4.5206 | 12.052 | n.a.
6 | 0.0002 | Standard | 10.5915 | 22.6609 | 9.431 | 0.073978 | 10.8646 | 9.3963 | n.a. | 17.9904 | 15.6331 | 36.8584 | 27.1183 | 21.8256 | 24.3581 | 14.057 | n.a.
7 | 0.0004 | Standard | 60.4228 | 49.4417 | 30.1682 | 58.4257 | 34.0723 | 40.0769 | 214.833 | 57.6077 | 51.8517 | 52.5399 | 58.8178 | 52.8221 | 54.8681 | 30.8089 | n.a.
8 | 0.001 | Standard | 213.5549 | 131.8314 | 88.8754 | 139.7583 | 94.6061 | 142.2998 | 177.6003 | 187.5073 | 178.7019 | 126.426 | 178.9652 | 143.4676 | 173.1524 | 90.873 | 48.1003
9 | 0.002 | Standard | 419.8633 | 386.4131 | 213.522 | 333.4283 | 218.02 | 310.1655 | 411.786 | 397.6252 | 374.7855 | 272.3226 | 371.5924 | 293.5634 | 361.4311 | 190.8982 | 132.0535
10 | 0.01 | Standard | 1774.5281 | 1673.2809 | 945.8049 | 1259.8328 | 987.6534 | 1320.7018 | 1964.578 | 1735.556 | 1639.3233 | 1485.1915 | 1845.5552 | 1476.6764 | 1787.4232 | 1048.2369 | 952.8878
11 | NA | A-WC6E | 726.4842 | 4.7675 | n.a. | n.a. | n.a. | 53.3409 | n.a. | n.a. | 24.325 | 16.0156 | n.a. | n.a. | 17.6061 | n.a. | n.a.
12 | NA | A-WC1I | 2730.9483 | 37.9214 | 10.4137 | n.a. | 16.8985 | 246.4587 | 18.3979 | 25.1623 | 175.3449 | 19.6907 | n.a. | 9.8242 | 134.7592 | n.a. | n.a.
13 | NA | S-WC1E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.13732 | 17.4218 | n.a. | n.a. | n.a. | n.a. | n.a.
14 | NA | A-WC1I | 2919.1182 | 38.8634 | 12.8226 | n.a. | 20.8088 | 290.9376 | 23.0228 | 42.3446 | 198.8149 | 14.7615 | n.a. | 11.7106 | 128.9834 | n.a. | n.a.
15 | NA | S-WC3I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 10.6617 | n.a. | n.a. | n.a. | n.a. | n.a.
16 | NA | S-WC5E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 7.2399 | 12.9651 | n.a. | n.a. | n.a. | n.a. | n.a.
17 | NA | A-WC6I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 12.3761 | n.a. | n.a. | n.a. | n.a. | n.a.
18 | NA | S-WC8I | 75.3425 | 6.6004 | n.a. | n.a. | n.a. | 47.2908 | n.a. | 15.6517 | 24.265 | 12.0344 | n.a. | 11.5996 | 0.88083 | n.a. | n.a.
19 | NA | A-WC2E | 2042.6952 | 13.0715 | 0.80034 | n.a. | 7.0148 | 325.294 | n.a. | 11.6523 | 102.9192 | 11.64 | n.a. | 10.1212 | 70.6913 | n.a. | n.a.
20 | NA | A-WC1E | 2467.0604 | 25.0723 | 4.6598 | n.a. | 14.1202 | 195.2752 | 0.4862 | 21.4594 | 122.9099 | 12.9671 | n.a. | 12.1047 | 98.2469 | n.a. | n.a.
21 | 0.0001 | Standard | n.a. | 4.8962 | 1.8454 | n.a. | 2.6448 | n.a. | n.a. | n.a. | n.a. | 14.1188 | 9.0081 | 12.3217 | 2.1922 | 4.9483 | n.a.
22 | NA | Extraction_standard_low | 51.626 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 11.4971 | n.a. | 9.4344 | n.a. | n.a. | n.a.
23 | NA | S-WC8I | 59.8214 | 7.8916 | n.a. | n.a. | n.a. | 30.3647 | n.a. | 1.1802 | 17.7228 | 9.7675 | n.a. | 8.0175 | 1.6536 | n.a. | n.a.
24 | NA | S-WC10E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 9.8537 | n.a. | n.a. | n.a. | n.a. | n.a.
25 | NA | A-WC2E | 2128.4394 | 16.6716 | 1.0594 | n.a. | 9.7369 | 338.6169 | n.a. | 16.807 | 102.6452 | 11.635 | n.a. | 11.441 | 76.3061 | n.a. | n.a.
26 | NA | S-WC2I | 94.4298 | 1.571 | n.a. | n.a. | n.a. | 74.112 | n.a. | n.a. | 8.797 | 11.0612 | n.a. | 8.3123 | n.a. | n.a. | n.a.
27 | NA | S-WC3E | 1330.8292 | n.a. | n.a. | n.a. | n.a. | 1370.4216 | n.a. | n.a. | 40.5403 | 13.3077 | n.a. | 7.4804 | 14.5861 | n.a. | n.a.
28 | NA | S-WC1E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 10.0443 | n.a. | 3.6177 | n.a. | n.a. | n.a.
29 | NA | S-WC11E | 108.9988 | n.a. | n.a. | n.a. | n.a. | 186.0202 | n.a. | 9.3025 | 12.4706 | 9.1795 | n.a. | 7.8441 | n.a. | n.a. | n.a.
30 | NA | S-WC7E | 98.7369 | n.a. | n.a. | n.a. | n.a. | 156.9336 | n.a. | 3.4876 | 6.6425 | 10.8766 | n.a. | 3.1825 | n.a. | n.a. | n.a.
31 | NA | S-WC9E | 185.0989 | n.a. | n.a. | n.a. | n.a. | 304.062 | n.a. | 9.1309 | 11.4159 | 9.7321 | n.a. | 7.7127 | n.a. | n.a. | n.a.
32 | 0.0002 | Standard | 4.3954 | 18.4557 | 11.1534 | n.a. | 13.5588 | 3.8547 | n.a. | 18.9794 | 12.8268 | 21.7071 | 23.0433 | 21.0089 | 21.1883 | 17.37 | n.a.
33 | NA | S-WC7E | 126.4632 | 3.0492 | n.a. | n.a. | n.a. | 201.7025 | n.a. | 15.2237 | 14.2743 | 8.9585 | n.a. | 3.6492 | n.a. | n.a. | n.a.
34 | NA | S-WC9E | 235.7332 | n.a. | n.a. | n.a. | n.a. | 383.7643 | n.a. | 15.3678 | 12.9491 | 7.3354 | n.a. | 8.1153 | n.a. | n.a. | n.a.
35 | NA | S-WC12E | 6.68 | n.a. | n.a. | n.a. | n.a. | 4.1027 | n.a. | n.a. | 8.4797 | 8.2205 | n.a. | 2.647 | n.a. | n.a. | n.a.
36 | NA | S-WC6E | 18.7289 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.37704 | 8.2902 | 9.4421 | n.a. | 9.2042 | n.a. | n.a. | n.a.
37 | NA | Extraction_standard_high | 221.0543 | n.a. | n.a. | n.a. | n.a. | 33.0977 | n.a. | n.a. | n.a. | 9.7939 | n.a. | 5.2889 | n.a. | n.a. | n.a.
38 | NA | A-WC6E | 1201.7478 | 13.0327 | n.a. | n.a. | 2.6803 | 138.4059 | n.a. | 11.0824 | 68.078 | 8.7507 | n.a. | 7.7122 | 39.8811 | n.a. | n.a.
39 | NA | S-WC8E | 26.4281 | 0.80778 | n.a. | n.a. | n.a. | 18.4346 | n.a. | 19.9942 | 14.671 | 12.7157 | n.a. | 7.7043 | n.a. | n.a. | n.a.
40 | NA | A-WC2I | 6.4249 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 8.2225 | n.a. | 1.9948 | n.a. | n.a. | n.a.
41 | NA | S-WC11E | 69.5986 | n.a. | n.a. | n.a. | n.a. | 129.175 | n.a. | 0.32948 | 7.077 | 7.7805 | n.a. | n.a. | n.a. | n.a. | n.a.
42 | NA | Extraction_blank_bremen | 68.531 | n.a. | n.a. | n.a. | n.a. | 7.9661 | n.a. | n.a. | 4.8567 | 5.4731 | n.a. | 3.8584 | 0.80097 | n.a. | n.a.
43 | 0.0004 | Standard | 47.1824 | 41.917 | 31.8157 | 48.7342 | 34.9524 | 38.0664 | 197.8537 | 49.5861 | 41.3579 | 30.8689 | 40.3495 | 35.8481 | 47.8814 | 35.2561 | n.a.
44 | NA | S-WC4I | 110.0973 | 0.087409 | n.a. | n.a. | n.a. | 148.8326 | 25.9399 | 8.2276 | 13.621 | 10.2217 | n.a. | 5.9918 | n.a. | n.a. | n.a.
45 | NA | Extraction_blank_bremen | 9.7159 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 6.4301 | n.a. | 6.794 | n.a. | 6.2618 | n.a.
46 | NA | A-WC5I | 60.3104 | 0.61313 | n.a. | n.a. | n.a. | 123.9542 | n.a. | 1.4918 | 4.4441 | 6.424 | n.a. | 6.0751 | n.a. | 4.7884 | n.a.
47 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 557.4849 | 1440.512 | 1008.4428 | 9.1045 | n.a. | n.a. | n.a. | n.a. | n.a.
48 | NA | S-WC9E | 190.7471 | n.a. | n.a. | n.a. | n.a. | 346.9299 | n.a. | 6.5024 | 16.543 | 8.6716 | n.a. | 7.3774 | n.a. | 5.3505 | n.a.
49 | NA | S-WC9I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 7.6385 | n.a. | n.a. | n.a. | 5.0257 | n.a.
50 | NA | S-WC6E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 5.908 | n.a. | n.a. | n.a. | 8.365 | n.a.
51 | NA | A-WC4E | 1336.5031 | 6.9259 | 2.4455 | n.a. | 9.1626 | 162.4125 | n.a. | 16.3738 | 92.1666 | 6.5558 | n.a. | n.a. | 70.7567 | 17.1767 | n.a.
52 | NA | S-WC7E | 124.1949 | n.a. | n.a. | n.a. | n.a. | 217.0108 | n.a. | 17.602 | 14.1697 | 4.2139 | n.a. | 5.0111 | n.a. | 5.9777 | n.a.
53 | NA | S-WC12E | 1.5449 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.1008 | n.a. | n.a. | n.a. | 5.5386 | n.a.
54 | 0.001 | Standard | 156.8631 | 94.5276 | 82.681 | 105.3096 | 89.8027 | 129.6497 | 143.0927 | 144.0938 | 132.2544 | 65.8269 | 106.6848 | 79.373 | 104.9417 | 53.9792 | n.a.
55 | NA | Extraction_blank_finland | 45.0815 | n.a. | n.a. | n.a. | n.a. | 123.4013 | n.a. | n.a. | n.a. | 4.5789 | n.a. | 3.7827 | n.a. | n.a. | n.a.
56 | NA | S-WC5I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.1934 | 1.7301 | n.a. | 4.0844 | n.a. | n.a. | n.a.
57 | NA | Extraction_blank_bremen | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.1758 | n.a. | 1.9013 | n.a. | n.a. | n.a.
58 | NA | S-WC10I | 228.7552 | n.a. | n.a. | n.a. | n.a. | 20.5271 | n.a. | n.a. | 14.9906 | 3.8996 | n.a. | 4.3272 | n.a. | n.a. | n.a.
59 | NA | Extraction_blank_finland | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 5.0736 | n.a. | n.a. | n.a. | n.a. | n.a.
60 | NA | S-WC12E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 4.1206 | n.a. | n.a. | n.a. | n.a. | n.a.
61 | NA | A-WC4E | 1264.4808 | 11.7205 | 1.5094 | n.a. | 3.5311 | 140.4859 | n.a. | 13.2414 | 80.7002 | 5.8502 | n.a. | 3.1883 | 48.9016 | n.a. | n.a.
62 | NA | A-WC2E | 1595.1657 | 14.7311 | 2.5457 | n.a. | 8.0301 | 292.8908 | n.a. | 7.6812 | 67.831 | 5.323 | n.a. | 2.8935 | 38.1456 | n.a. | n.a.
63 | NA | S-WC6I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 4.3741 | n.a. | n.a. | n.a. | n.a. | n.a.
64 | NA | S-WC11I | 170.2856 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.0173 | 5.7731 | n.a. | n.a. | n.a. | n.a. | n.a.
65 | 0.002 | Standard | 281.4979 | 173.4985 | 167.409 | 190.2795 | 177.5949 | 266.8594 | 310.232 | 277.1998 | 260.3992 | 115.1464 | 194.7663 | 183.0241 | 194.1368 | 91.7326 | n.a.
66 | NA | Extraction_standard_low | 27.4546 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.6249 | n.a. | n.a. | n.a. | 5.685 | n.a.
67 | NA | Extraction_standard_high | 145.1684 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.5219 | n.a. | n.a. | n.a. | 3.5695 | n.a.
68 | NA | A-WC2I | 7.663 | n.a. | n.a. | n.a. | n.a. | 1.3298 | n.a. | n.a. | n.a. | 3.4992 | n.a. | n.a. | n.a. | 4.6346 | n.a.
69 | NA | S-WC8E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 8.556 | n.a. | n.a. | n.a. | 4.8702 | n.a.
70 | NA | S-WC10E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 6.3368 | n.a. | n.a. | n.a. | 3.509 | n.a.
71 | NA | Extraction_standard_low | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 6.937 | n.a. | n.a. | n.a. | 4.9112 | n.a.
72 | NA | Extraction_blank_bremen | 23.8999 | n.a. | n.a. | n.a. | n.a. | 1.1743 | n.a. | n.a. | n.a. | 7.8514 | n.a. | n.a. | n.a. | 3.828 | n.a.
73 | NA | A-WC6I | 772.2492 | 7.1607 | n.a. | n.a. | 2.409 | 141.2435 | n.a. | n.a. | 63.0228 | 10.4366 | n.a. | n.a. | 41.8999 | 4.7088 | n.a.
74 | NA | S-WC2E | 219.4333 | n.a. | n.a. | n.a. | n.a. | 397.9073 | n.a. | n.a. | 13.5444 | 10.7388 | n.a. | 8.769 | n.a. | 4.712 | n.a.
75 | NA | Extraction_blank_bremen | 8.7138 | n.a. | n.a. | n.a. | n.a. | 10.643 | n.a. | n.a. | n.a. | 8.2691 | n.a. | n.a. | n.a. | 7.322 | n.a.
76 | 0.01 | Standard | 1057.4802 | 716.3319 | 718.9718 | 693.0798 | 773.3122 | 953.5725 | 1323.8058 | 1071.4585 | 1023.294 | 676.131 | 806.3279 | 766.3327 | 867.5829 | 444.2405 | 505.6649
77 | NA | A-WC6E | 804.8489 | 5.8664 | 1.8661 | n.a. | 6.3642 | 125.1428 | n.a. | n.a. | 48.643 | 10.5461 | n.a. | n.a. | 29.8951 | 6.6328 | n.a.
78 | NA | A-WC2I | 12.38 | n.a. | n.a. | n.a. | n.a. | 7.7533 | n.a. | n.a. | 6.5266 | 4.9378 | n.a. | 5.2374 | n.a. | 4.8146 | n.a.
79 | NA | Extraction_blank_bremen | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 33.9542 | n.a. | n.a. | 4.1186 | n.a. | 8.1615 | n.a. | 4.1765 | n.a.
80 | NA | S-WC10I | 220.6751 | n.a. | n.a. | n.a. | n.a. | 24.7102 | n.a. | n.a. | 13.3698 | 9.1106 | n.a. | 4.1695 | n.a. | 2.5093 | n.a.
81 | NA | Extraction_blank_bremen | 4.8686 | n.a. | n.a. | n.a. | n.a. | 12.0221 | n.a. | n.a. | n.a. | 8.5956 | n.a. | 2.4757 | n.a. | 4.1978 | n.a.
82 | NA | S-WC11E | 23.6587 | n.a. | n.a. | n.a. | n.a. | 81.7736 | n.a. | n.a. | n.a. | 7.8464 | n.a. | n.a. | n.a. | 3.815 | n.a.
83 | NA | S-WC1I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 7.0039 | n.a. | 4.6015 | n.a. | 4.4899 | n.a.
84 | NA | Extraction_standard_low | 5.8342 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.7111 | n.a. | 3.0228 | n.a. | 4.9112 | n.a.
85 | NA | S-WC8E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 6.9634 | n.a. | n.a. | n.a. | 10.4584 | n.a.
86 | NA | S-WC4I | 70.3789 | n.a. | n.a. | n.a. | n.a. | 116.7047 | n.a. | 5.3989 | 10.5503 | 5.0169 | n.a. | n.a. | n.a. | 9.6698 | n.a.
87 | 0.0001 | Standard | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 11.4606 | n.a. | 2.853 | n.a. | 14.6788 | n.a.
88 | NA | S-WC6I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 4.9986 | n.a. | n.a. | n.a. | 11.8687 | n.a.
89 | NA | S-WC4E | 375.7889 | n.a. | n.a. | n.a. | n.a. | 613.4624 | n.a. | n.a. | 15.0572 | 3.6056 | n.a. | n.a. | n.a. | 12.8823 | n.a.
90 | NA | A-WC5I | 38.6826 | n.a. | n.a. | n.a. | n.a. | 98.4872 | n.a. | n.a. | n.a. | 5.3879 | n.a. | n.a. | n.a. | 11.22 | n.a.
91 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 267.2976 | 174.8341 | 255.5604 | 4.0963 | n.a. | n.a. | n.a. | 16.4016 | n.a.
92 | NA | A-WC3I | 43.0042 | 5.6437 | n.a. | n.a. | 2.7772 | 16.3314 | n.a. | n.a. | 14.3699 | 4.7806 | n.a. | 3.2372 | n.a. | 13.4942 | n.a.
93 | NA | A-WC3E | 22.7261 | n.a. | n.a. | n.a. | n.a. | 71.2043 | n.a. | n.a. | 11.3244 | 5.0392 | n.a. | 2.0001 | n.a. | 14.0849 | n.a.
94 | NA | A-WC3E | 33.4636 | n.a. | n.a. | n.a. | n.a. | 86.9629 | n.a. | n.a. | n.a. | 4.3934 | n.a. | n.a. | n.a. | 17.1739 | n.a.
95 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 337.3199 | n.a. | 125.2555 | 6.1746 | n.a. | n.a. | n.a. | 12.9895 | n.a.
96 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | 23.8732 | 188.2687 | n.a. | 174.6182 | 1.6247 | n.a. | n.a. | n.a. | 12.2796 | n.a.
97 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1946.6097 | n.a. | 291.9847 | 5.5258 | n.a. | n.a. | n.a. | 13.1875 | n.a.
98 | 0.0002 | Standard | n.a. | 3.8132 | 5.3617 | n.a. | 6.5526 | n.a. | n.a. | n.a. | n.a. | 3.3806 | 4.9282 | 5.5758 | 0.37402 | 13.6685 | n.a.
99 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 296.4328 | 183.3416 | 118.8083 | 1.9815 | n.a. | n.a. | n.a. | 20.7643 | n.a.
100 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
101 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
102 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
103 | NA | Dialysis_blank_concentrated | 100.2875 | 146.3874 | 121.5568 | 271.2888 | n.a. | 123.502 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
104 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
105 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 345.6105 | n.a. | n.a. | n.a. | n.a. | n.a.
106 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 87.939 | n.a. | n.a. | n.a. | n.a. | n.a.
107 | NA | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 87.4827 | n.a. | n.a. | n.a. | n.a. | n.a.
108 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | 30.1904 | 1295.9701 | 278.8099 | 1427.2609 | 92.2202 | n.a. | 7.3149 | n.a. | n.a. | n.a.
109 | NA | Dialysis_blank_concentrated | 25.4439 | n.a. | n.a. | n.a. | n.a. | n.a. | 153.2704 | 116.2217 | 118.9036 | 77.3579 | n.a. | n.a. | n.a. | n.a. | n.a.
110 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 67.5162 | 99.4727 | 99.8335 | 67.9376 | n.a. | n.a. | n.a. | n.a. | n.a.
111 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 421.5246 | 1011.747 | 967.7794 | 61.283 | n.a. | n.a. | n.a. | n.a. | n.a.
112 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | 12.9705 | 73.5737 | 105.6598 | 77.7724 | 54.2776 | n.a. | n.a. | n.a. | n.a. | n.a.
113 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 64.3185 | 92.5026 | 69.3069 | 48.0995 | n.a. | n.a. | n.a. | n.a. | n.a.
114 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 169.0408 | 52.5108 | 34.523 | 41.0049 | n.a. | n.a. | n.a. | n.a. | n.a.
115 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 341.3779 | n.a. | 254.3521 | 35.9176 | n.a. | n.a. | n.a. | n.a. | n.a.
116 | 0.0004 | Standard | 1.9951 | 11.0043 | 11.3414 | 1.6888 | 14.6863 | 1.2002 | 48.0829 | n.a. | 2.8016 | 50.561 | 20.5857 | 12.5487 | n.a. | n.a. | n.a.
117 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | 41.3914 | n.a. | 84.7801 | 2567.516 | n.a. | 3521.376 | 30.0852 | n.a. | 29.7771 | n.a. | n.a. | n.a.
118 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 298.1313 | 90.7604 | 85.0915 | 21.8713 | n.a. | n.a. | n.a. | n.a. | n.a.
119 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 119.1111 | 54.2856 | 31.6375 | 23.3596 | n.a. | n.a. | n.a. | n.a. | n.a.
120 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 189.1996 | n.a. | 215.6367 | 22.0305 | n.a. | n.a. | n.a. | n.a. | n.a.
121 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 112.6702 | 116.8015 | 117.0957 | 23.6729 | n.a. | n.a. | n.a. | n.a. | n.a.
122 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 194.6164 | 152.2892 | 150.8117 | 21.5763 | n.a. | n.a. | n.a. | n.a. | n.a.
123 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 135.6329 | 25.371 | 48.8987 | 14.1604 | n.a. | n.a. | n.a. | n.a. | n.a.
124 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 78.393 | 120.2121 | 128.1516 | 14.1918 | n.a. | n.a. | n.a. | n.a. | n.a.
125 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 269.6955 | 78.1574 | 156.8866 | 15.5624 | n.a. | n.a. | n.a. | n.a. | n.a.
126 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | 52.1334 | 254.7079 | 103.5515 | 139.1816 | 13.7011 | n.a. | n.a. | n.a. | n.a. | n.a.
127 | 0.001 | Standard | 48.6774 | 38.9877 | 39.0879 | 31.986 | 46.378 | 48.5091 | 29.0253 | 44.2899 | 59.4919 | 54.6831 | 52.6012 | 46.8214 | 58.4838 | n.a. | n.a.
128 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 191.1398 | 127.3319 | 106.7562 | 10.1072 | n.a. | n.a. | n.a. | n.a. | n.a.
129 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 201.1916 | 148.9679 | 150.3852 | 13.8663 | n.a. | n.a. | n.a. | n.a. | n.a.
130 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 155.7829 | 103.3864 | 183.6563 | 7.8058 | n.a. | n.a. | n.a. | n.a. | n.a.
131 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 178.2928 | 156.7305 | 130.2076 | 7.9792 | n.a. | n.a. | n.a. | n.a. | n.a.
132 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | 3.0973 | 180.4601 | 103.8272 | 97.4972 | 7.9305 | n.a. | n.a. | n.a. | n.a. | n.a.
133 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 87.7272 | 126.741 | 101.9267 | 9.6398 | n.a. | n.a. | n.a. | n.a. | n.a.
134 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 195.3279 | 153.3169 | 169.2249 | 4.9236 | n.a. | n.a. | n.a. | n.a. | n.a.
135 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 52.873 | 103.1154 | 87.8274 | 7.9042 | n.a. | n.a. | n.a. | n.a. | n.a.
136 | NA | S-WC2E | 104.8743 | n.a. | n.a. | n.a. | n.a. | 178.0707 | n.a. | n.a. | n.a. | 7.6629 | n.a. | n.a. | n.a. | n.a. | n.a.
137 | NA | Dialysis_blank_concentrated | n.a. | n.a. | 24.9085 | n.a. | n.a. | n.a. | 187.3032 | 72.1505 | 81.6292 | 8.5956 | n.a. | n.a. | n.a. | n.a. | n.a.
138 | 0.002 | Standard | 111.2494 | 80.7632 | 82.5314 | 80.6523 | 93.3495 | 117.3096 | 117.2664 | 117.155 | 130.8361 | 98.593 | 114.9895 | 97.8153 | 92.0821 | n.a. | n.a.
139 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 345.0156 | 137.4603 | 199.1771 | 10.2096 | n.a. | n.a. | n.a. | n.a. | n.a.
140 | NA | Dialysis_blank_concentrated | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 195.8803 | 118.5942 | 138.1218 | 2.5026 | n.a. | n.a. | n.a. | n.a. | n.a.
141 | NA | S-WC1E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 4.8749 | n.a. | n.a. | n.a. | n.a. | n.a.
142 | NA | Extraction_blank_bremen | 17.2226 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 6.1168 | n.a. | n.a. | 0.53006 | n.a. | n.a.
143 | NA | Extraction_standard_high | 27.3788 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 4.221 | n.a. | n.a. | n.a. | n.a. | n.a.
144 | NA | Extraction_standard_high | 42.6402 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 4.076 | n.a. | n.a. | n.a. | n.a. | n.a.
145 | NA | S-WC4E | 176.8243 | n.a. | n.a. | n.a. | n.a. | 320.9501 | n.a. | n.a. | n.a. | 3.5306 | n.a. | n.a. | n.a. | n.a. | n.a.
146 | NA | Extraction_standard_low | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.4529 | n.a. | n.a. | n.a. | n.a. | n.a.
147 | NA | S-WC9I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.63417 | n.a. | n.a. | n.a. | n.a. | n.a.
148 | NA | A-WC1I | 836.2962 | 2.3432 | n.a. | n.a. | n.a. | 67.0048 | n.a. | n.a. | 38.1334 | 2.6952 | n.a. | n.a. | 27.0444 | n.a. | n.a.
149 | 0.01 | Standard | 536.7901 | 437.0971 | 403.4903 | 420.1566 | 474.5002 | 497.731 | 700.8954 | 569.5056 | 614.8802 | 533.2961 | 591.2972 | 498.2253 | 514.0987 | n.a. | 327.2634
150 | NA | Extraction_standard_high | 71.0253 | n.a. | n.a. | n.a. | n.a. | 1.0152 | n.a. | n.a. | n.a. | 1.0407 | n.a. | n.a. | n.a. | n.a. | n.a.
151 | NA | S-WC3I | 64.6202 | n.a. | n.a. | n.a. | n.a. | 38.6941 | n.a. | n.a. | n.a. | 1.6267 | n.a. | n.a. | n.a. | n.a. | n.a.
152 | NA | Extraction_blank_bremen | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.4655 | n.a. | n.a. | n.a. | n.a. | n.a.
153 | NA | A-WC5E | 3.5661 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.0298 | n.a. | n.a. | n.a. | n.a. | n.a.
154 | NA | S-WC3E | 543.1423 | n.a. | n.a. | n.a. | n.a. | 645.2047 | n.a. | n.a. | 11.6038 | 0.97785 | n.a. | n.a. | n.a. | n.a. | n.a.
155 | NA | Extraction_standard_low | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.7516 | n.a. | n.a. | n.a. | n.a. | n.a.
156 | NA | S-WC5I | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.9686 | n.a. | n.a. | n.a. | n.a. | n.a.
157 | NA | A-WC3I | 22.9679 | n.a. | n.a. | n.a. | n.a. | 9.2472 | n.a. | n.a. | n.a. | 3.9118 | n.a. | n.a. | n.a. | n.a. | n.a.
158 | NA | Extraction_blank_finland | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 43.3361 | n.a. | 34.8346 | 3.3684 | n.a. | n.a. | n.a. | n.a. | n.a.
159 | NA | Extraction_standard_high | 34.653 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.1336 | n.a. | n.a. | n.a. | n.a. | n.a.
160 | NA | Standard | 1245.4216 | 1001.3774 | 508.6897 | 934.717 | 499.3202 | 864.2583 | 1183.8083 | 872.3426 | 1212.9161 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
161 | NA | A-WC5E | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
162 | NA | S-WC2E | 144.2069 | n.a. | n.a. | n.a. | n.a. | 255.4675 | n.a. | n.a. | 2.3941 | 0.14451 | n.a. | n.a. | n.a. | n.a. | n.a.
163 | NA | S-WC3I | 90.216 | n.a. | n.a. | n.a. | n.a. | 69.4873 | n.a. | 7.0852 | 14.085 | 0.49123 | n.a. | n.a. | n.a. | n.a. | n.a.
164 | NA | S-WC2I | 9.6104 | n.a. | n.a. | n.a. | n.a. | 16.8813 | n.a. | n.a. | n.a. | 0.29759 | n.a. | n.a. | n.a. | n.a. | n.a.
165 | NA | Extraction_blank_bremen | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.7696 | n.a. | n.a. | n.a. | n.a. | n.a.
166 | NA | Extraction_blank_finland | 3.968 | n.a. | n.a. | n.a. | n.a. | 63.7112 | n.a. | n.a. | n.a. | 1.649 | n.a. | n.a. | n.a. | n.a. | n.a.
167 | NA | Extraction_blank_bremen | 3.0546 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.0859 | n.a. | n.a. | n.a. | n.a. | n.a.
168 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.1806 | n.a. | n.a. | n.a. | n.a. | n.a.
169 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.38681 | n.a. | n.a. | n.a. | n.a. | n.a.
170 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.92108 | n.a. | n.a. | n.a. | n.a. | n.a.
171 | NA | Standard | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.96974 | n.a. | n.a. | n.a. | n.a. | n.a.
172 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.97988 | n.a. | n.a. | n.a. | n.a. | n.a.
173 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.1279 | n.a. | n.a. | n.a. | n.a. | n.a.
174 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.0951 | n.a. | n.a. | n.a. | n.a. | n.a.
175 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.2921 | n.a. | n.a. | n.a. | n.a. | n.a.
176 | NA | Dialysis_blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3.1636 | n.a. | n.a. | n.a. | n.a. | n.a.

## Audit Trail
Audit Trail
Injection Details
Injection Name: |  | MQ 11c 1:25 | Run Time (min): | 65.2
Vial Number: |  | RE8 | Injection Volume: | 10
Injection Type: |  | Unknown | Channel: | ED_1_Total
Calibration Level: |  |  | Wavelength: | n.a.
Instrument Program: |  | 20200327_PA10_2mm_monosaccharide_analysis_short_22,5°C | Bandwidth: | n.a.
Processing Method: |  | Monosaccharides_Alek_20210510_new | Dilution Factor: | 1
Injection Date/Time: |  | 2021-05-07 04:54 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
04:51:52 |  | Audit trail of injection "chrom://pc-dxjrf82/ChromeleonLocal/Instrument Data/ICS5000/Sequence/Hagen/20210428_PA10_3_Finland ANX.seq/863.smp". Executed 07.05.2021 on instrument ICS5000 (server PC-DXJRF82).
04:51:52 |  | Start of injection 176 "MQ 11c 1:25", using instrument method "20200327_PA10_2mm_monosaccharide_analysis_short_22,5°C".
04:51:52 | 0.000 | Entered stage "Instrument Setup"
04:51:52 | 0.000 | Wait Sampler.Ready
04:51:52 | 0.000 | Wait finished
04:51:52 | 0.000 | DC.Compartment_TC.AcquireExclusiveAccess
04:51:52 | 0.000 | Exclusive access granted to instrument ICS5000.
04:51:52 | 0.000 | DC.Column_TC.AcquireExclusiveAccess
04:51:52 | 0.000 | Exclusive access granted to instrument ICS5000.
04:51:52 | 0.000 | EDet1.pH.UpperLimit = 13.00
04:51:52 | 0.000 | EDet1.pH.LowerLimit = 10.00
04:51:52 | 0.000 | DC.Column_TC.Mode = On
04:51:52 | 0.000 | DC.Column_TC.TemperatureSet = 22.50 °C
04:51:52 | 0.000 | DC.Compartment_TC.Mode = On
04:51:52 | 0.000 | DC.Compartment_TC.TemperatureSet = 22.50 °C
04:51:52 | 0.000 | Sampler.Temperature.Nominal = 15.0 °C
04:51:52 | 0.000 | Log TempCtrl: On
04:51:52 | 0.000 | Sampler.CycleTime = 0 min
04:51:52 | 0.000 | Pump_1.Pressure.UpperLimit = 4000 psi
04:51:52 | 0.000 | Pump_1.%A.Equate = "Reinstwasser / MilliQ"
04:51:52 | 0.000 | Pump_1.Pressure.LowerLimit = 200 psi
04:51:52 | 0.000 | Pump_1.%B.Equate = "250 mM NaOH"
04:51:52 | 0.000 | Pump_1.%C.Equate = "Reinstwasser / MilliQ"
04:51:52 | 0.000 | Pump_1.%D.Equate = "1 M NaAcetat"
04:51:52 | 0.000 | EDet1.CellControl = On
04:51:52 | 0.000 | EDet1.Electrode = AgCl
04:51:52 | 0.000 | EDet1.Waveform Time = 0.00 s, Potential = 0.10 V, LastStep = Off, Ramp = On, GainRegion = Off, Integration = Off
04:51:52 | 0.000 | EDet1.Waveform Time = 0.20 s, Potential = 0.10 V, LastStep = Off, Ramp = On, GainRegion = On, Integration = On
04:51:52 | 0.000 | EDet1.Waveform Time = 0.40 s, Potential = 0.10 V, LastStep = Off, Ramp = On, GainRegion = Off, Integration = Off
04:51:52 | 0.000 | EDet1.Waveform Time = 0.41 s, Potential = -2.00 V, LastStep = Off, Ramp = On, GainRegion = Off, Integration = Off
04:51:52 | 0.000 | EDet1.Waveform Time = 0.42 s, Potential = -2.00 V, LastStep = Off, Ramp = On, GainRegion = Off, Integration = Off
04:51:52 | 0.000 | EDet1.Waveform Time = 0.43 s, Potential = 0.60 V, LastStep = Off, Ramp = On, GainRegion = Off, Integration = Off
04:51:52 | 0.000 | EDet1.Waveform Time = 0.44 s, Potential = -0.10 V, LastStep = Off, Ramp = On, GainRegion = Off, Integration = Off
04:51:52 | 0.000 | EDet1.Waveform Time = 0.50 s, Potential = -0.10 V, LastStep = On, Ramp = On, GainRegion = Off, Integration = Off
04:51:53 | 0.000 | Entered stage "Inject"
04:51:53 | 0.000 | Wait Sampler.CycleTimeState
04:51:53 | 0.000 | Wait finished
04:51:53 | 0.000 | Sampler.Inject
04:51:53 | 0.000 | Injecting from vial position RE8.
04:51:53 | 0.000 | Injection Volume is 10.0 µl.
04:51:53 | 0.000 | Waiting for inject response on AsapInjectState1.
04:53:54 | 0.000 | Inject preparation complete, waiting for pump to begin next stroke cycle.
04:54:01 | 0.000 | Switching inject valve.
04:54:01 | 0.000 | Got inject response.
04:54:01 | 0.000 | Entered stage "Start Run"
04:54:01 | 0.000 | EDet1.Autozero
04:54:01 | 0.000 | Pump_1.Pump_1_Pressure.AcqOn
04:54:01 | 0.000 | EDet1.ED_1.AcqOn
04:54:01 | 0.000 | The pH at Acquisition start = 12.4.
04:54:01 | 0.000 | EDet1.ED_1_Total.AcqOn
04:54:01 | 0.000 | The pH at Acquisition start = 12.4.
04:54:01 | 0.000 | Entered stage "Run"
04:54:01 | 0.000 | Pump_1.Flow = 0.250 ml/min
04:54:01 | 0.000 | Pump_1.%B.Value = 7.2 %
04:54:01 | 0.000 | Pump_1.%C.Value = 0.0 %
04:54:01 | 0.000 | Pump_1.Curve = 5
04:54:01 | 0.000 | Pump_1.%D.Value = 0.0 %
04:54:31 | 0.500 | Log Pressure: 2190.5 [psi]
04:54:31 | 0.500 | Log Background: 17.6 [nC]
05:14:01 | 20.000 | Pump_1.Flow = 0.250 ml/min
05:14:01 | 20.000 | Pump_1.%B.Value Gradient Start = 7.2 %, End = 40.0 %, Duration = 1.000 min
05:14:01 | 20.000 | Pump_1.%C.Value = 0.0 %
05:14:01 | 20.000 | Pump_1.Curve = 5
05:14:01 | 20.000 | Pump_1.%D.Value = 0.0 %
05:15:01 | 21.000 | Pump_1.Flow = 0.250 ml/min
05:15:01 | 21.000 | Pump_1.%B.Value = 40.0 %
05:15:01 | 21.000 | Pump_1.%C.Value = 0.0 %
05:15:01 | 21.000 | Pump_1.Curve = 5
05:15:01 | 21.000 | Pump_1.%D.Value Gradient Start = 0.0 %, End = 20.0 %, Duration = 4.000 min
05:19:01 | 25.000 | Pump_1.Flow = 0.250 ml/min
05:19:01 | 25.000 | Pump_1.%B.Value = 40.0 %
05:19:01 | 25.000 | Pump_1.%C.Value = 0.0 %
05:19:01 | 25.000 | Pump_1.%D.Value = 20.0 %
05:19:01 | 25.000 | Pump_1.Curve = 5
05:29:01 | 35.000 | Pump_1.Flow = 0.250 ml/min
05:29:01 | 35.000 | Pump_1.%B.Value Gradient Start = 40.0 %, End = 30.0 %, Duration = 5.000 min
05:29:01 | 35.000 | Pump_1.%C.Value = 0.0 %
05:29:01 | 35.000 | Pump_1.%D.Value Gradient Start = 20.0 %, End = 0.0 %, Duration = 5.000 min
05:29:01 | 35.000 | Pump_1.Curve = 5
05:34:01 | 40.000 | Pump_1.Flow = 0.250 ml/min
05:34:01 | 40.000 | Pump_1.%B.Value = 30.0 %
05:34:01 | 40.000 | Pump_1.%C.Value = 0.0 %
05:34:01 | 40.000 | Pump_1.%D.Value = 0.0 %
05:34:01 | 40.000 | Pump_1.Curve = 5
05:39:01 | 45.000 | Pump_1.Flow = 0.250 ml/min
05:39:01 | 45.000 | Pump_1.%B.Value Gradient Start = 30.0 %, End = 7.2 %, Duration = 1.000 min
05:39:01 | 45.000 | Pump_1.%C.Value = 0.0 %
05:39:01 | 45.000 | Pump_1.%D.Value = 0.0 %
05:39:01 | 45.000 | Pump_1.Curve = 5
05:40:01 | 46.000 | Pump_1.Flow = 0.250 ml/min
05:40:01 | 46.000 | Pump_1.%B.Value = 7.2 %
05:40:01 | 46.000 | Pump_1.%C.Value = 0.0 %
05:40:01 | 46.000 | Pump_1.%D.Value = 0.0 %
05:40:01 | 46.000 | Pump_1.Curve = 5
05:49:07 | 55.100 | Pump_1.Flow = 0.250 ml/min
05:49:07 | 55.100 | Pump_1.%B.Value = 7.2 %
05:49:07 | 55.100 | Pump_1.%C.Value = 0.0 %
05:49:07 | 55.100 | Pump_1.%D.Value = 0.0 %
05:49:07 | 55.100 | Pump_1.Curve = 5
05:59:13 | 65.200 | Pump_1.Flow = 0.250 ml/min
05:59:13 | 65.200 | Pump_1.%B.Value = 7.2 %
05:59:13 | 65.200 | Pump_1.%C.Value = 0.0 %
05:59:13 | 65.200 | Pump_1.%D.Value = 0.0 %
05:59:13 | 65.200 | Pump_1.Curve = 5
05:59:13 | 65.200 | Entered stage "Stop Run"
05:59:13 | 65.200 | Pump_1.Pump_1_Pressure.AcqOff
05:59:13 | 65.200 | EDet1.ED_1.AcqOff
05:59:13 | 65.200 | EDet1.ED_1_Total.AcqOff
05:59:13 | 65.200 | Entered stage "Post Run"
05:59:13 | 65.200 | DC.Column_TC.ReleaseExclusiveAccess
05:59:13 | 65.200 | Exclusive access finished.
05:59:13 | 65.200 | DC.Compartment_TC.ReleaseExclusiveAccess
05:59:13 | 65.200 | Exclusive access finished.
05:59:15 |  | End of injection "MQ 11c 1:25".

## Chromatogram
Chromatogram